|  |  |  |  |
| --- | --- | --- | --- |
| **Runyenjes** | Normal Allocation, Kshs.184,129,901  JSS Allocation, Kshs.9,488,033  **Total Allocation, Kshs.**193,617,934 | **All proposed projects complied apart from the following;** | **All proposed projects are recommended for approval apart from the following;** |
| Karurumo Primary School, Kshs.1,400,000 **-** Additional funds for drilling of 250 metres deep borehole equipped with hybrid submersible pump, solar panels and cold-water storage tank. Construction of water fetching point for users, 300M piping for distribution of water in Karurumo Primary School and the neighboring Karurumo Secondary school | **Pending Approval**  Management to carry out verification visit to ascertain where the borehole was drilled  ***Proposed construction of water fetching point for users is not recommended for approval since it falls under county Government functions***  The project was allocated Kshs.3,600,000 in 2022/23 Financial Year |
| Kanginga Primary School, Kshs.14,000,000- Additional funds for construction of storey building with an administration block, staffroom, 2 classrooms on the ground floor and four number of classrooms on first floor-walling, first floor slab, plastering of the ground floor, installation of windows and doors. | **Pending Approval**  NG-CDFC to submit certified drawings and BoQs for the project. Technical documents to be reviewed by Board’s technical officers  The school was allocated Kshs.2,500,000 in 2022/23 Financial Year for construction to completion of two classrooms. However, due to lack of land, the scope of works was changed to storey  The estimated cost for the project is Kshs.26,850,000 |
| Ugweri Police Post, Kshs.1,500,000 - Additional funds for drilling of 250 metres deep borehole equipped with hybrid submersible pump, solar panels and cold-water storage tank. Construction of water fetching point by users, piping for distribution of water to police post offices and staff houses. | **Pending Approval**  Management to carry out verification visit to ascertain where the borehole was drilled  ***Proposed construction of water fetching point for users is not recommended for approval since it falls under county Government functions***  The project was allocated Kshs.3,600,000 in 2022/23 Financial Year |
| Maranga Assistant Chief’s Kshs.400,000 - Purchase of 1/4 acre of land and administrative expenses for processing of the title deed. | **Pending Approval**  NG-CDFC to provide a comprehensive land valuation report and land search Certificate. |
| Climate change Mitigation Activity, Kshs.400,000 **-** Purchasing and planting of 100 tree seedlings in five (5) schools at Kshs.80,000 each | **Pending Approval**  NG-CDFC to submit letters from the beneficiary institutions specifying mechanisms put in place (availability of water and fence) to sustain and protect the trees once planted  The schools should also commit in writing to consult the Sub County Committee incharge of tree growing for guidance.  The NG-CDFC is required to satisfy itself that the institutions have put in place proper mechanisms for sustaining and protecting the trees once planted including adequate consultations with the Sub County Committee on tree growing. |
| Kithare Primary School, Kshs.5,012,571.49 - First phase of construction of a staffroom in a storey building comprising of an administration block with three offices and a staffroom on ground floor with the slab as the roof | **Pending Approval**  NG-CDFC to submit certified drawings and BoQs |
| Rural Electrification and Renewable Energy Corporation Electricity connection, Kshs.5,000,000 -Contribution to matching facility funding for installation of transformers and electricity connectivity in the following areas; Kirenyi village Kagaari South ward | **Pending Approval**  NG-CDFC to submit the concurrence letter from REREC |