## BOQ
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
GROUND FLOOR
ELEMENT NO. 01
SUBSTRUCTURE
“ALL PROVISIONAL”
Excavations and earthworks
A | Allow for clearing the site from any debris, trees, roots etc., filling hollows and leveling. | 450 | SM | 240 | 108000
B | Excavate to reduce levels for strip foundation not exceeding 1.5m deep. | 90 | CM | 640 | 57600
C | Excavate for column base not exceeding 1.5m deep | 66 | CM | 1580 | 104280
D | Extra over all kinds of excavation for excavating in coral hard rock. | 32 | CM | 1580 | 50560
DEWATERING
E | Allow for necessary pumping of any ground water
| by pumping or by any other approved method | 1 | ITEM | 20200 | 20200
PLANKING AND STRUTTING
F | Allow for necessary timbering to vertical surfaces of excavated areas to prevent free fall of loose debris into the foundations. | 1 | ITEM | 20200 | 20200
DISPOSAL
G | Return, fill in and ram selected excavated materials around foundation in layers not exceeding 150mm thick. | 70 | CM | 240 | 16800
H | Load and cart away surplus excavated material. | 46 | CM | 580 | 26680
HARDCORE FILLING
J | 300mm thick hardcore bed well compacted and blinded to receive damp proof membrane (measured separately) | 450 | SM | 620 | 279000
ANTI – TERMITE TREATMENT
K | Chemical Anti- termite treatment executed by Rentokil laboratories limited or other equal and approved, under a ten years guarantee period surface of hardcore. | 450 | SM | 170 | 76500
| AMOUNT CARRIED TO COLLECTION PAGE 3 |  |  |  | 759820
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO.1 CONT`D
DAMP PROOF MEMBRANE
A | 500 gauge polythene or equal and approved damp proof membrane laid on blinding (ms) | 450 | SM | 90 | 40500
PLAIN IN SITU REINFORCED CONCRETE NORMAL MIX (1:4:8)
B | 50mm thick blinding under wall foundation and column bases | 12 | CM | 6200 | 74400
PLAIN IN SITU REINFORCED CONCRETE NORMAL MIX (1:2:4)
C | Wall foundation, columns and column bases | 56 | CM | 10000 | 560000
D | 150mm thick horizontal floor slab | 450 | SM | 1900 | 855000
E | ditto;100mm thick bevelled ramps. | 18 | SM | 1700 | 30600
HIGH TENSILE RIBBED ROUND STEEL BARS TO B.S. 4461 INCLUDING BINDING WIRES, SPACER BLOCKS , CUTTING AND BENDING
F | 8mm diameter bars | 680 | KG | 170 | 115600
G | 10mm diameter bars | 420 | KG | 170 | 71400
H | 12mm diameter bars | 520 | KG | 170 | 88400
J | 16mm diameter bars | 780 | KG | 170 | 132600
STEEL MESH FABRIC TO B.S 4482 REF. A142
K | Steel mesh fabric reinforcement Ref No: A142 with 150mm side and end laps | 450 | SM | 520 | 234000
FORM WORK
SAWN FORMWORK TO IN SITU CONCRETE AS DESCRIBED IN:-
L | To edge of slab, exceeding 75mm but not exceeding 200mm wide. | 160 | SM | 420 | 67200
| AMOUNT CARRIED TO COLLECTION PAGE 3 |  |  |  | 2269700
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO.1 CONT`D
SUB – WALL
SUB – WALL
A | 200 mm thick coral block walling bedded and jointed in cement and sand mix (1:3) mortar. | 375 | SM | 1650 | 618750
PLINTH
B | 20mm thick cement and sand render (1:4) mix finished smooth with steel trowel. | 60 | SM | 210 | 12600
C | Prepare and apply two coasts of bituminous paint to ditto. | 60 | SM | 210 | 12600
| Total Amount Carried To Collection Page 03 |  |  |  | 643950
| Brought foward from pg 1 |  |  |  | 759820
| Brought foward from pg 2 |  |  |  | 2269700
| Brought foward from pg above |  |  |  | 643950
| AMOUNT CARRIED TO SUMMARY PAGE 12 |  |  |  | 3673470
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO.02
SUPERSTRUCTURE
WALLING
Internal and External Walls
Machine cut: Natural stone walling bedded and pointed in cement and sand (1:3) mortar
A | 200mm thick coral block wall. | 320 | SM | 1450 | 464000
Bituminous felt or other approved damp-proof-course: in cement/sand(1:3) mortar
B | 225mm wide | 180 | LM | 320 | 57600
| WALLING CARRRIED TO SUMMARY PAGE 12 |  |  |  | 521600
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 03
CONCRETE WORK
Vibrated in – situ Reinforced Concrete Mix (1:2:4)
A | Columns | 12 | CM | 12180 | 146160
B | Beams | 18 | CM | 12180 | 219240
C | 150mm thick suspended slab gutters | 430 | SM | 1900 | 817000
D | 100mm thick window canopy | 18 | SM | 1100 | 19800
HIGH TENSILE RIBBED ROUND STEEL BARS TO B.S. 4461 INCLUDING BINDING WIRES, SPACER BLOCKS , CUTTING AND BENDING
E | 8mm diameter bars | 1280 | KG | 170 | 217600
F | 10mm diameter bars | 1440 | KG | 170 | 244800
G | 12mm diameter bars | 1060 | KG | 170 | 180200
H | 16mm diameter bars | 1260 | KG | 170 | 214200
FORM WORK
SAWN FORM WORK TO IN SITU CONCRETE
J | Sides of columns | 200 | SM | 465 | 93000
K | Sides and soffits of beams | 88 | SM | 465 | 40920
L | Soffits and sides of suspended slabs | 280 | SM | 465 | 130200
| CONCRETE CARRIED TO SUMMARY PAGE 12 |  |  |  | 2323120
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No.04
ROOF WORK
A | Supply and fix pre-painted box profile roofing sheets gauge 28 complete with all sundries. | 30 | SM | 1200 | 36000
B | Ditto matching ridge caps. | 6 | LM | 840 | 5040
C | 110mm diameter PVC rain water down pipes | 18 | NO | 3300 | 59400
D | Supply and fix goose neck bends | 18 | NO | 650 | 11700
E | Ditto shoe | 18 | NO | 650 | 11700
IN CELCURED CYPRESS
F | 100 x 50mm wall plate. | 22 | LM | 450 | 9900
G | 100 x 50mm, tie beams | 36 | LM | 450 | 16200
H | 100 x 50mm kingposts, rafters, ties / struts | 88 | LM | 450 | 39600
J | 75 x 50mm purlins | 72 | LM | 320 | 23040
CEILING BOARD AND EAVES; IN CELCURED CYPRESS
K | Supply and fix 50x50mm joists in 600x600mm centers. | 68 | LM | 625 | 42500
L | ditto; 12mm thick plywood to architect`s details. | 22 | SM | 2000 | 44000
M | ditto; moulded corners. | 26 | LM | 320 | 8320
| ROOF AND CEILING CARRIED TO SUMMARY PAGE 12 |  |  |  | 212580
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No. 05
DOOR
A | 1200x2400mm overall, double leaf panel metal door: 2 No. equal openable leaves size 600x2060mm high: 16guage double metal plate and S.H.S. frame with locking devices all etched in primer and gloss oil paint (drawing provided). | 2 | NO | 22200 | 44400
B | Ditto: but in single leaf panel metal door: 16guage metal plate and S.H.S. frame with locking devices all etched in primer and gloss oil paint (drawing provided). | 2 | NO | 16200 | 32400
C | Ditto: but in 900x2100mm flush doors complete with hardwood frame and locking devices. | 10 | NO | 12350 | 123500
| DOORS CARRIED TO SUMMARY PAGE 12 |  |  |  | 200300
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No.06
WINDOWS
WROUGHT MAHOGANY
Aluminium louvre end frames with plastic glass holder screwed on 150mm x 50mm hardwood frame including 4mm thick frosted glass louvre blades 16mm diameter mild steel burglar proofing bars encased in PVC (polyvunylchloride) conduits and three coats of polyurethane varnish to general timber surfaces in windows size:-
A | 1500mm x 1500mm high | 18 | No. | 14800 | 266400
B | ditto; 900mmx600mm high | 7 | No. | 11700 | 81900
C | Window cill | 42 | LM | 900 | 37800
| WINDOWS CARRIED TO SUMMARY PAGE 12 |  |  |  | 386100
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No.07
FINISHES
WALL FINISHES
A | 12mm thick plaster/render to internal and external walls coral block walls and beams finish smooth with steel trowel. | 640 | SM | 320 | 204800
B | Ditto: slab and gutter soffits | 396 | SM | 320 | 126720
C | Supply and fix ceramics wall tiles as "SAJ RAK" (or equavalent) in toilets tiles fixed with cement grout. | 52 | SM | 1650 | 85800
Notice Boards and Finishes
D | 1200x1500mm notice boards plugged to concrete or blockwork complete with 50x25mm thick chamfered frame all around; compete with 3 coats of clear varnish | 6 | NO. | 530 | 3180
PAINTING
E | Prepare and apply three coats of plastic emulsion paint on plastered surfaces. | 640 | SM | 320 | 204800
F | Ditto: slab, ceiling and gutter soffits | 450 | SM | 320 | 144000
FLOOR FINISHES
G | 32mm thick cement and sand screed (1:4) | 450 | SM | 320 | 144000
H | Supply and fix ceramics floor tiles as "SAJ RAK" (or equavalent) tiles fixed with cement grout. | 450 | SM | 1500 | 675000
J | ditto skirting 20x100mm | 288 | LM | 230 | 66240
| FINISHES CARRIED TO SUMMARY PAGE 12 |  |  |  | 1654540
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No.08
FIXTURES & FITTINGS
Supply and Deliver the following Furniture as FAIRDEAL FURNITURES or equivalent
A | Teacher's table (Such as E 805 Economy table or equivalent) size 1500 x 750 mm wide, standard height. | 10 | NO | 16150 | 161500
TEACHERS' SEATS
B | 25x25x3mm thick S.H.S hot rolled steel tubes framed standard chair; with welded joints and high density foam cushion encased in leather seat cover at 400mm high and backrest at 850mm overall height with foot protector rubbers all to approval. | 18 | NO | 5000 | 90000
PRINCIPAL'S AND DEPUTY PRINCIPAL'S OFFICES
C | Supply executive table as provided from the attached photos to project managers approval. | 2 | NO | 30300 | 60600
CHAIR
D | Ditto; but for executive chair as provided from the attached photos to project managers approval. | 2 | NO | 20350 | 40700
Curtain rods
E | Supply and fix wrought iron curtain Rods and accessories including double rod, finials and rings as per Iron Art Limited or other equal and approved to details and approval | 20 | NO | 1800 | 36000
Window curtains
F | Supply and fix curtains to item C above made of cotton or any other equivalent including net lining to client approval and satisfaction | 20 | NO | 3200 | 64000
Bookshelves
G | Supply and install inbuilt single entry book shelving 2100mm high 2400mm wide with 6no.divisions vertically of 325mm deep and partitioned horizontally at intervals of 1200mm wide 1mm thick laminated edges all comprising 25mm thick blockboards and plywood cover at the back side to project manager's approval complete in all aspects:- | 4 | NO | 7200 | 28800
H | Allow for 3no.seat link chairs | 6 | NO | 6300 | 37800
| FIXTURES CARRIED TO SUMMARY PAGE 12 |  |  |  | 519400
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No.09
PLUMBING INSTALLATION
A | Asian type W.C suite complete with H.L ceramic and cistern 40mm diameter pvc flash pipe and connected to wastes and services. All to be as “TWAFORD”or equivalent and approved. | 2 | NO | 7200 | 14400
B | English type W.C suite complete with H.L ceramic and cistern 40mm diameter pvc flash pipe and connected to wastes and services. All to be as “TWAFORD”or equivalent and approved. | 3 | NO | 14300 | 42900
Two Range Urinals
C | Ceramic urinals bowl complete with 2No.urinal bowl divisions chrome plated flush pipes, 9.5litres ceramic cistern, 40mm heavy duty plastic bottle trap and 40mm chrome plated screws. The fitting shall be as Twyfords or equal and approved. | 1 | ITEM | 15200 | 15200
Toilet Roll Holder
D | Semi recessed toilet roll holder in vitreous china of size 165x165mm in approved colour as twyford 9806WH or equal and approved | 5 | NO | 1200 | 1200
Wash Hand Basin
E | wash hand basin size 510x420mm and in white colour, with 1No. Taphole and chain stay hole, 32mm chrome plated chain waste 1No. Chrome plated as 'Aztec' pillar tap with 75mm seal. As Twyfords equal and approved. | 5 | NO | 6500 | 6500
F | 12 mm Diameter chrome towel rail hanger 1000 mm
| long with 2NO. Brackets plugged | 3 | NO | 1450 | 4350
Mirrors
G | 6 mm Thick polished plate mirror with back copper
coated with bevelled edges and fixed with 4NO.dome
| shapped screws | 3 | NO | 1150 | 3450
H | 1000 Capacity plastic water tank as ROTO with cover
12 mm diameter equilibrium brass ball valve , 2NO.
12 mm diameter back nut and hoist and fix 6.00
| metres high | 1 | NO | 15150 | 15150
J | Allow for PPR pipes and fittings including labour
| for fixing | ITEM | 1 | SUM | 15250
K | Ditto PVC pipes and fittings ditto | ITEM | 1 | SUM | 15250
L | Allow for testing of the whole of Plumbing Installation
| to the satisfaction of the Architect | ITEM | 1 | SUM | 10250
| TOTAL FOR PLUMBING INSTALLATION CARRIED TO SUMMARY PAGE 12 |  |  |  | 143900
ITEM | DESCRIPTION | PAGE |  |  | AMOUNT
SUMMARY
1 | SUBSTRUCTURE | B/f from page 3 |  |  | 3673470
2 | WALLING | B/f from page 4 |  |  | 521600
3 | CONCRETE WORKS | B/f from page 5 |  |  | 2323120
4 | ROOF AND CEILING WORKS | B/f from page 6 |  |  | 212580
5 | DOORS | B/f from page 7 |  |  | 200300
6 | WINDOWS | B/f from page 8 |  |  | 386100
7 | FINISHES | B/f from page 9 |  |  | 1654540
8 | FIXTURES | B/f from page 10 |  |  | 519400
9 | PLUMBING INSTALLATION | B/f from page 11 |  |  | 143900
10 | PRELIMINARIES | B/f from GP/28 |  |  | 80000
| TOTAL CARRIED TO GRAND SUMMARY PAGE 14 |  |  |  | 9715010
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PRIME COST AND PROVISIONAL SUMS
The following sums shall be expended upon Architect's
instructions and may be omitted in whole:
A | Allow the Prime Cost sum of Kenya Shilings Two Hundred
| Thousand ( Kshs.200,000/) for Electrical Installations | ITEM |  | SUM | 200000
B | Two Hundred and Fifty Thousand ( Kshs.200,000/) for
| Project Management/Supervision/Documentation | ITEM | 1 | SUM | 200000
C | Allow for a Provisional Sum of Kenya Shillings
| One Hundred Thousand ( Kshs.50,000/) for project Branding and commissioning as directed. | ITEM | 1 | SUM | 50000
D | Allow for a Prime Cost Sum of Kenya Shillings
Fifty Thousand ( Kshs.50,000/) for Supply and
Delivery of 9KG and 2NO. Water base and 9 Litre
| X2NO. Carbon dioxide Fire extinguishers mounted | ITEM | 1 | SUM | 50000
on walling to approval
E | Allow for Prime Cost Sum of Kenya Shillings
| Seventy Thousand (Kshs.70,000/) for PMC | ITEM | 1 | SUM | 70000
Allowances
F | Allow for a Provisional Sum of Kenya Shillings
| One Million Two hundred Thousand (Kshs 1,200,000/) for Construction of a septic Tank and soak pit with Manholes and sewer line | ITEM | 1 | SUM | 1200000
| PRIME COST AND PROVISIONAL SUMS TO GRAND SUMMARY PAGE 14 |  |  |  | 1770000
ITEM | DESCRIPTION | PAGE |  |  | AMOUNT
GRAND SUMMARY
| Builders work | B/f from page 13 |  |  | 9715010
| Add 16% VAT |  |  |  | 1554401.6
| Subtotal |  |  |  | 11269411.6
| Prime cost and provisional sums | B/f from page 14 |  |  | 1770000
| AMOUNT CARRIED TO TENDER FORM |  |  |  | 13039411.6
Amount in words……………………………………………………………………………………………………………..………………………………………………………………………………………………………………….…....
Contractor`s name…………………………………………………………………………………………………………………..……………………………………………………………………………………………...………………………....
Address.....................................................................................................................................................
Signature............................................................................................................................................................
Name of witness...............................................................................................................................................................
Address..........................................................sign....................................................................................
Date....................................................................................................................................................................

## Substructure RC bars
Bar Type | Unit | Numbers | No. of bars | Length(m) | Total Length(m | Unit weight | Total Weight | Add Bulk(10%)
Sub-structure
Y12 column base 1 | kg | 4 | 14 | 1.6 | 89.6 | 1.208 | 108.2368 | 119.0605
Y12 column base 2 | kg | 5 | 16 | 1.8 | 144 | 1.208 | 173.952 | 191.3472
total y12 | [6 empty] | 282.1888 | 310.4077
Y16 column | kg | 9 | 6 | 2.1 | 113.4 | 1.575 | 178.605 | 196.4655
total y16 | [6 empty] | 178.605 | 196.4655
Y8 column (stirrups) | kg | 9 | 11 | 1.6 | 158.4 | 0.3916 | 62.0294 | 68.2324
total y8 | [6 empty] | 62.0294 | 68.2324
Super-structure
Y16 column | kg | 9 | 6 | 3.6 | 194.4 | 1.575 | 306.18 | 336.798
Y8 column (stirrups) | kg | 9 | 18 | 1.6 | 259.2 | 0.3916 | 101.5027 | 111.653
Y16 beams | kg |  | 2 | 110 | 220 | 1.575 | 346.5 | 381.15 | total y16 | 717.948
Y12beams | kg |  | 2 | 110 | 220 | 1.208 | 265.76 | 292.336 | total y12 | 602.7437
Y8 beams (stirrups) | kg |  | 445 | 1.6 | 712 | 0.3916 | 278.8192 | 306.7011

## Ramp concrete
No | Item | Unit | Numbers | Length(M) | Width(M) | Depth(M) | Sub-Total | Add Bulk(10%)
| RC Concrete (slab 1&2) | m3 | 2 | 12.8 | 1.2 | 0.2 | 6.144 | 6.7584
3 | Beams | m3 |  | 2.6 | 0.3 | 0.45 | 0.351 | 0.3861
4 | Landing | m3 | 2 | 2.6 | 1.4 | 0.2 | 1.456 | 1.6016
| Total RC Concrete | m3 | [5 empty] | 8.7461

## Ramp RC Bars
Bar Type | Unit | Numbers | No. of bars | Length(m) | Total Length(m | Unit weight | Total Weight | Add Bulk(10%)
Ramp RC Bars
Y20 beams | kg |  | 3 | 2.8 | 8.4 | 2.47 | 20.748 | 22.8228
Y16 beams | kg |  | 9 | 2.8 | 25.2 | 1.575 | 39.69 | 43.659
Y8 column (stirrups) |  |  | 14 | 2.2 | 30.8 | 0.3916 | 12.0613 | 13.2674
Y16 slab T1 | kg |  | 48 | 10 | 480 | 1.575 | 756 | 831.6
Y12slab B1 | kg |  | 300 | 1.8 | 540 | 1.208 | 652.32 | 717.552
total y16 | kg | [6 empty] | 875.259
total y12 | kg | [6 empty] | 717.552

## 1st flr RC
Bar Type | Unit | Numbers | No. of bars | Length(m) | Total Length(m | Unit weight | Total Weight | Add Bulk(10%)
(column)
Y16 column | kg | 52 | 6 | 3.6 | 1123.2 | 1.575 | 1769.04 | 1945.944
Y8 column (stirrups) | kg | 9 | 16 | 1.6 | 230.4 | 0.3916 | 90.2246 | 99.2471
Beams
Y16 (beam 3) | kg |  | 6 | 98 | 588 | 1.575 | 926.1 | 1018.71
Y16 (beam 1) | kg |  | 2 | 156 | 312 | 1.575 | 491.4 | 540.54
Y16 (beam 2) | kg |  | 2 | 48 | 96 | 1.575 | 151.2 | 166.32
Y8 stirrups (beam1,2 &3) | kg |  | 1510 | 1.6 | 2416 | 0.3916 | 946.1056 | 1040.7162
Total Y16 | kg | [5 empty] | 3337.74 | 3671.514
Y12beams 1 | kg |  | 2 | 156 | 312 | 1.208 | 376.896 | 414.5856
Y12beams 2 | kg |  | 2 | 48 | 96 | 1.208 | 115.968 | 127.5648
Total Y12 | kg | [5 empty] | 492.864 | 542.1504
Total Y8 | kg | [5 empty] | 1036.3302 | 1139.9633

## Substructure Concrete
No | Item | Unit | Numbers | Length(M) | Width(M) | Depth(M) | Sub-Total | Add Bulk(10%)
1 | Excavation (trench) 1 | m3 |  | 72 | 0.6 | 1.2 | 51.84 | 56.1
2 | Excavation (column bases 1) 1 | m3 | 5 | 1.2 | 1.2 | 1.2 | 8.64 | 9.5
3 | (column bases 2) | m3 | 4 | 1.5 | 1.5 | 1.2 | 10.8 | 11.9 | 21.4
| Total Excavations | m3 |  |  |  |  | 71.28 | 78.408
1 | Mass concrete (Blinding) | m3 |  |  |  |  | 2.25 | 2.25
1 | RC Concrete (column base 1) | m3 | 5 | 1.5 | 1.5 | 0.4 | 4.5 | 4.95
2 | '' (column bases 2) | m3 | 4 | 1.2 | 1.2 | 0.2 | 1.152 | 1.267
3 | '' (column) | m3 | 9 | 0.4 | 0.2 | 1.2 | 0.864 | 0.95
4 | '' (strip footing) | m3 |  | 72 | 0.6 | 0.2 | 8.16 | 8.9 | 15.117
5 | Beams | m3 |  | 72 | 0.2 | 0.45 | 6.12 | 6.732
| Total RC Concrete | m3 |  |  |  |  | 23.046 | 25.35
1 | Back filling | m3 |  |  |  |  | 51.3 | 56.43
2 | Slab | m2 |  |  |  |  | 22.8 | 25.08

## Roof
Bar Type | Unit | Numbers | Length(m) | Total Length(m | Add Bulk(10%)
Rafters | LM | 36 | 6 | 216 | 237.6
struts & ties | LM | 36 | 7 | 252 | 277.2
tie beams | LM | 36 | 12 | 432 | 475.2
Kingpost | LM | 36 | 2.2 | 79.2 | 87.12 | 799.92
purlins | LM | 12 | 43 | 516 | 567.6
Wall plate | LM |  |  | 106 | 116.6
Roof Area | M2 |  |  | 516 | 567.6